TI: EdgeAI Multi-Sensor Smoke Detector

Brian Luu

Dan Tran

Ethan Caraway

Lazarus Saenz

Concept of Operations

REVISION – Draft

9/1/2026

Concept of Operations

for

TI: EdgeAI Multi-Sensor Smoke Detector

Team <67>

Approved by:

_____________________________

Project Leader	Date

_____________________________

Prof. Kalafatis	Date

_____________________________

T/A      	Date

Change Record

Table 1 List of changes

| Rev. | Date | Originator | Approvals | Description |
| --- | --- | --- | --- | --- |
| 1 | 9/15/2026 | Ethan Caraway, Dan Tran, Brian Luu, Lazarus Saenz |  | Completed ConOps Release |

Table of Contents

Table of Contents	III

List of Tables	IV

No table of figures entries found.	IV

List of Figures	V

No table of figures entries found.	V

1.	Executive Summary	1

2.	Introduction	2

2.1.	Background	2

2.2.	Overview	2

2.3.	Referenced Documents and Standards	2

3.	Operating Concept	3

3.1.	Scope	3

3.2.	Operational Description and Constraints	3

3.3.	System Description	3

3.4.	Modes of Operations	3

3.5.	Users	4

3.6.	Support	4

4.	Scenario(s)	4

4.1.	Residential Use	4

4.2.	Cooking Smoke	5

4.3.	High Humidity	5

4.4.	Dust/Aerosol	5

4.5.	Fire Detection	5

5.	Analysis	6

5.1.	Summary of Proposed Improvements	6

5.2.	Disadvantages and Limitations	6

5.3.	Alternatives	6

5.4.	Impact	6

List of Tables

No table of figures entries found.

List of Figures

# No table of figures entries found.

# Executive Summary

The EdgeAI Multi-Sensor Smoke Detector is a low-cost smart smoke detection system designed to improve traditional smoke detectors by distinguishing hazardous fire conditions from normal household conditions. Conventional smoke detectors can struggle to differentiate actual fire smoke from conditions such as cooking smoke, steam, dust, or aerosols, potentially resulting in false alarms. The proposed system addresses this limitation by combining multiple environmental measurements with Edge Artificial Intelligence to provide more informed detection and classification.

The system will use multiple sensing inputs to monitor environmental conditions and classify them into multiple target categories including, normal air, high humidity, actual fire smoke, dust/aerosol, cooking smoke, and gases like CO and LPG. These categories will display on an LCD on the housing of the device. If a dangerous condition is found by the AI, the alarm system will be activated. Sensor data will be acquired and processed by a Texas Instruments microcontroller, with an EdgeAI classification model operating locally on the device. The project will use the MSPM0G5187 MCU and aims to maintain a low-power design suitable for extended battery operation.

The project is divided into four primary subsystems: power, board design, embedded software and housing, and the classification model. Key deliverables include a functional classification model, use of a TI MCU for EdgeAI processing, a TI-based bill of materials where possible, and a target battery life of 12-18 months. The resulting prototype will demonstrate how multi-sensor data and embedded machine learning can reduce nuisance alarms while maintaining effective detection of hazardous conditions.

# Introduction

## Background

Residential smoke detectors often trigger false alarms due to trivial particles like cooking steam or dust. This leads to many residents opting to disable the device entirely, especially in the kitchen where steam is common. This is problematic because the areas that consistently cause false alarms are generally areas with a higher fire risk. Typical smoke detectors also only have one sensor, so the device does not have enough data or processing power to accurately classify what particles and plumes it is seeing.

## Overview

In this project, we will be creating a multi-sensor residential smoke detector. This device will utilize an EdgeAI machine learning model to reliably classify different types of smoke, gas, air quality, and aerosols. The AI model will be local to the system allowing for low latency processing. This device will be able to classify trivial versus non-trivial plumes such as cooking steam or real fire smoke, respectively. Due to the robust and well-trained machine learning model, the device will be able to make informed decisions on whether to activate the alarm while also minimizing false positives. There will be different alarm modes to differentiate between gas and fire smoke. This system will be designed to have low power consumption and a multi-year battery life. Also, the smoke detector’s alarm system will provide both auditory and visual signals in compliance with safety regulations.

## Referenced Documents and Standards

[1] Underwriters Laboratories, UL 217: Smoke Alarms, 10th ed., UL Standards & Engagement, 2024, rev. 2026.

[2] National Fire Protection Association, NFPA 72: National Fire Alarm and Signaling Code, 2025 ed., National Fire Protection Association, 2025.

[3] Texas Instruments, Smart Analog Sensor Interface for Smoke Detection With Ambient Light Cancellation Reference Design, TIDA-010941, Design Guide TIDUF52, Dec. 2023.

[4] Texas Instruments, MSPM0G5187 Mixed-Signal Microcontrollers With TinyEngine™ NPU, Datasheet, Rev. B.

# Operating Concept

## Scope

The smoke detector that we are creating will be capable of taking in data from multiple types of sensors and recognizing the state of the air through an EdgeAI model. It will be able to classify humid air, CO, other gasses, cooking steam, dust, regular fire smoke, and polyurethane smoke. The device will be immune to the ambient noise created by both the light and sound commonly found in residential areas. The device will be a low-power system that in ideal conditions can operate for multiple years. It will be a battery-operated device with easy access to the battery compartment. The device housing will also allow access to the smoke detection chamber for cleaning. The alarm system on the device when activated will create auditory and visual signals.

## Operational Description and Constraints

This project will be used in a residential setting, with the capability of being installed by the residents themselves. The device will be capable of being operated by a battery. The battery in the device will be capable of being easily accessed and replaced. The smoke detector will also provide visual and auditory feedback when the alarm is set off. The chamber of the sensors will be accessible for cleaning. The whole device will need to be light enough to be installed on a residential ceiling. It will need to be large enough to support the PCB, chamber, sensors, and alarm while not being excessive relative to the industry standard. The power of the system must be enough to support the complexity of the device while maintaining a long battery life. Inside the sensing chamber, there must be limited ambient light. The device and its components must be reasonable in cost. We also need to consider the radius of detection for the smoke detector and how much area they can protect. Our machine learning model must be robust enough to accurately classify our desired conditions while also being simple enough to run on a device with limited room for hardware.

## System Description

In this project, we will be designing and implementing a PCB for our system. This PCB will be compact, power efficient, and capable of processing. It will also be able to connect to the development kit board provided by TI and the multiple types of sensors that we will be using. The sensors will be placed in a covered chamber that is not affected by ambient light but will allow for air from the environment to flow through. This chamber can be opened to remove dust. Next to the PCB board will be an easily accessible location to place the device’s battery. The smoke detector can be easily detached and reattached from its resting location for battery replacement or cleaning. Attached to the housing will be an LED for indication of low battery. There will also be LEDs and a speaker attached to the housing for when the alarm system is activated. The housing will also have braces attached to the back of the detector for attachment to the ceiling.

## Modes of Operations

There will be two main modes on the smoke detector, a low mode, which will be the main mode, where it will intermittently sense the air/particles. This will test the various sensors, communicate with the AI/software, and determine if turning on high mode is necessary. The high mode will detect more often to react quicker to smoke/fire/gas. It will have a significantly higher frequency and sampling rate so that it can gather enough data to make informed classifications, and if necessary, activate the alarm. The last modes will be the two alarm modes, where it will start blaring the alarm sound, flashing strobing lights, and alerting the users/residents of the smoke/fire or gas. A background mode/alternate mode will be a test mode, to ensure that all the sensors are properly working; this will either be manual or automatic by the AI to ensure it receives correct information.

## Users

The smoke detector will be for residential use, and minimal training is needed for installation. A thorough review of provided instructions and basic knowledge of use of hand tools should be adequate for the setup of the smoke detector. The people that will benefit the most from this device are the residents who have this device in their homes. This is because they can leave the device operational without worrying about it inaccurately activating, and trust that it will protect them from hazardous smoke conditions.

## Support

A simple printed user manual will be provided with information on setting up the device and the different features it contains when bought. The user manual will explain the proper process of attaching the foundation of the device to the ceiling as well as what locations are best to place the device. It will then explain how the device is activated, which will be simply by placing a battery in the cradle. Then finally, there will be instructions on how to attach the smoke detector to the foundation piece which was previously attached to the ceiling. There will also be a section about the battery being low and how to interpret the device's LEDs. For this device, there will not be tech support available, as it will be preferable in situations of device failure that the device is replaced.

# Scenario(s)

## Residential Use

The EdgeAI multi-sensor smoke detector is installed in a residential environment such as a home or apartment. During normal conditions, the system periodically monitors the surrounding environment using its optical, temperature, humidity, and other available sensors. The collected sensor information is analyzed by the onboard processing system and classified as Normal Air. No alarm is activated, and the detector remains in its normal low-power monitoring state. The expected outcome of the detector is to recognize normal conditions and to continue monitoring without unnecessarily alerting occupants.

## Cooking Smoke

An occupant is cooking in a kitchen when smoke or airborne particles from the cooking process reach the detector. A conventional smoke detector may interpret the particles as a fire and activate an unwanted alarm. The proposed detector collects information from multiple sensors and evaluates the combined measurements using its EdgeAI classification system. If the characteristics of the event are consistent with cooking smoke rather than an actual fire, the system classifies the condition as Cooking Smoke and does not immediately activate the emergency fire alarm. The expected outcome of the detector is to distinguish cooking-related smoke from an actual fire to reduce the number of false alarms while continuing to monitor the environment.

## High Humidity

Steam from a shower, humidifier, or other household sources enter the area surrounding the detector. The optical sensing system may detect changes caused by water droplets that could potentially resemble airborne smoke particles. At the same time, the humidity and temperature measurements provide additional environmental information. The system analyzes the combined sensor data and determines that the event is consistent with High Humidity rather than actual fire. The expected outcome of the detector is to identify steam or high-humidity conditions without a misfire.

## Dust/Aerosol

Dust generated during cleaning, construction, or normal household activity enters the detector's sensing region. Alternatively, an aerosol product produces airborne particles near the detector. The optical sensing system detects the particles, but additional sensor measurements and the characteristics of the optical response allow the EdgeAI model to distinguish the event from fire smoke. The system classifies the condition as Dust/Aerosol and continues monitoring the environment. The expected outcome of the detector is to recognize non-fire airborne particles and avoid unnecessary fire alarms.

## Fire Detection

A hazardous fire begins within the monitored environment, producing smoke that reaches the detector. The detector observes changes in its optical and environmental sensor measurements and increases its monitoring activity as necessary. The combined sensor information is processed and evaluated by the onboard EdgeAI model. When the system determines that the environmental conditions are consistent with Actual Fire Smoke, the detector enters its alarm state and activates its local warning system to alert occupants. The expectation of the smoke detector is to rapidly identify a hazardous fire and activate the alarm.

## Carbon Monoxide Detection

Carbon monoxide is produced within the monitored environment due to incomplete combustion from a fuel-burning appliance, vehicle exhaust, or another combustion source. The carbon monoxide may be present without producing enough visible smoke to activate the optical smoke detection system. The detector monitors the CO concentration using a separate sensor and evaluates the situation over time. If the CO concentration reaches predefined hazardous levels, the detector activates its alarm alerting occupants. The expected outcome of the detector is to identify dangerous carbon monoxide conditions when its smoke cannot be detected.

## Other Gas Detection

A pipe has a crack and begins to leak hazardous or explosive gas such as methane throughout the home. The smoke detectors gas sensor does its intermittent check and detects a high level of this gas and sends a wake-up signal to the microcontroller. The device wakes up and begins to gather large samples of data from all its sensors and the EdgeAI model classifies the plumes as dangerous, activating the devices gas alarm. This alarm will provide visual and auditory cues for the residents to exit the premises immediately.

# Analysis

## Summary of Proposed Improvements

Our advanced smoke detector device will provide detailed and powerful processing capabilities for residential smoke and gas detection. This will be accomplished by a specified and well-trained machine learning model. This device will protect residents while not falsely sounding the alarm for trivial situations. Another improvement that will be implemented in this device is EdgeAI. This means that the AI model will be running locally on the smoke detector, so that our device will not have to send data out into the cloud and wait for another device to process it and send a response. Due to this, we will have a much lower latency and receive air classifications immediately. Another advantage of this is that because we don’t require communication hardware or software, we will have less points of failure when compared to a cloud-based AI smoke detector.

## Disadvantages and Limitations

Some false positives may still arise; our solution is to minimize if not eliminate false positives, but like in any situation, some edge cases might occur, so the AI might err on the side of caution to ensure safety for residents using the device. Our small dataset might limit the extent to which the AI can be trained as most of our data will come from our own testing, limiting the accuracy of our model. The distrust of the AI making the decisions instead of a traditional “machine” making the decision might turn away some residents as they fear the AI might give both false positives and negatives. There will also not be a central system to control all smoke detectors as the main function is to have them function completely independently. There will not be a self-cleaning module or device for it to self-clean, meaning it might need semi-regular maintenance for the sensors to successfully read correctly. Another limitation is that because of the complexity of the hardware that we are using, the battery life will have to be balanced with the rate of sampling with the device.

## Alternatives

One alternative solution to our project would be to utilize cloud-based AI instead of EdgeAI. This could be beneficial because the hardware on the smoke detector is very limited due to size constraints, which means that processing power is limited. Devices that send data to the cloud could run much more complex classification models. However, the benefit of using EdgeAI is that the device will not have to wait on communication with the cloud, meaning that there will be a very low latency between the model and the devices systems. Another alternative to our project would be to remove the AI model from the device and to utilize multiple finely tuned sensors. The benefit of this is that the device could be much smaller, cheaper, and have less power consumption. However, this means that the device would be much less accurate, tripping to trivial air conditions. This is dangerous because it could desensitize residents to their smoke detectors' alarm going off, increasing the danger of a real fire.

## Impact

The primary objective of this multi-sensor smart smoke detector is to enhance residential safety by delivering highly efficient and effective fire and gas detection. By drastically reducing false alarms, the device addresses a critical human behavior risk by preventing frustrated users from forcefully deactivating their alarms. Keeping these devices operational ultimately protects lives, safeguards property, and minimizes the risk of catastrophic fires and explosions spreading through vulnerable structures. However, this increased efficiency introduces environmental and ethical trade-offs. Environmentally, the device’s continuous operation relies on battery power, and whether utilizing standard or rechargeable batteries, eventual degradation ensures that routine replacements will inevitably generate electronic waste. Ethically, the implementation of artificial intelligence presents a unique challenge in public reception. While some consumers understand that the system functions strictly as a localized classifier for analyzing environmental data, others may conflate this specialized Edge AI with the broad idea of the unreliability of a generative chatbot AI. Furthermore, because the device’s multi-sensor must continuously sample environmental data to maintain high accuracy, it may trigger privacy concerns among consumers who worry the device is passively monitoring their presence and daily habits.